## Slide 1: How to Operate your HVAC system
Village Area &
The Offices of Residence Life

## Slide 2: Avoid Restriction of Air Flow You will have one of the following units in your residence hall.
THIS!
NOT THIS!
THIS!
THIS!
NOT THIS!
NOT THIS!

## Slide 3: Setting your Heating Unit
In order to adjust the heat coming from your air vent after the heat has been turned on for the winter, you can turn the knob down to open the vent and increase the heat, or turn the knob up to close the vent and decrease the heat.

## Slide 4: Setting your HVAC Unit

## Slide 5: We suggest you use…. Village Common areas have window units, but bedrooms currently only have a heating system
Box Fan
Oscillating Fan

## Slide 6: Temperature Regulations
Above 60 degrees
Below 60 degrees

## Slide 7: HVAC Operation Tips
Keep WINDOWS CLOSED when cooling
Do not set temperature below 70 degrees when cooling
Do not place furniture or other items on top or within 12 inches of the unit
Report leaks, moisture intrusion and/or signs of microbial growth on our online work order system

## Slide 8: How to report a non-functioning unit…
To fill out a maintenance request to fix the unit visit: http://www.jmu.edu/orl/maintenance/
An air conditioning unit that is not functioning properly is not considered an emergency. It may take 3 to 5 business days for the unit to be serviced.
Only non-functioning heating units are an emergency.

## Slide 9: THANK YOU!
We look forward to seeing you on campus!
GO DUKES!