Outdoor events on the campus of James Madison University will not require a fire safety and emergency evacuation plan or crowd control managers providing the following precautions are met:

- no barriers or crowd control devices preventing the participants from freely moving away from the event

- no open flames, fireworks or other pyrotechnic devices

- no barriers, structures, vehicles or impediments obstructing: egress sidewalks, fire hydrants, fire department connections (FDC), or fire lanes

If any of these parameters are necessary for an outdoor event on campus then the Event Management web page protocol will be required, http://www.jmu.edu/riskmgmt/EVENTMANAGEMENT.shtml. A fire safety and emergency evacuation plan shall be necessary; event staff will be present in a ratio of 1 staff member for every 250 persons present, including talent and event staff, trained in crowd management techniques.