JMUCO-13.3b

(Rev. 02/16)											Page 1 of 1

CHECKLIST FOR BENEFICIAL OCCUPANCY

Agency:						Project Code:

Project Name:					Building:

Agency Representative:

Inspection by the A/E and Agency prior to BCOM inspection allows for earlier Beneficial Occupancy.  Assure that the following items are complete or do not apply to the project before scheduling a Substantial Completion Inspection.

Site / Building Accessibility

___	Route from the entrance to the public way

___	Plumbing / controls / circulation

Means of Egress

___	Exit Access / Exit / Exit Discharge clear and unobstructed

___ 	Delayed egress / Access controlled locks

___	Door Hardware / types required

HVAC

___	Ventilation

___	Exhaust Systems

___	Special Systems (smoke control, dust collection)

___ 	Testing and Balancing Report

Electrical

___	Egress lighting with emergency power on and off

___	Boxes (back, junction, and pull) covered

___	Exit Signs

___	Lightning Protection Certification

Plumbing

___	Fixtures tested and properly functioning

___	Lab gases

___	Secondary Roof Drainage

___	Potable Water Report

Fire Safety

___	Fire alarm system accepted

___	Sprinkler system accepted

___	Supervising Station Name   __________________

General Safety

___	Floor finishes complete

___	Elevator inspection

___	Contractor Clean up

Close Out Documents

___	VEES documentation (if VEES is compliance method selected to meet High Performance Buildings Act)

___	Fire Marshal letter recommending occupancy

___	Roofing Survey Report

I have inspected for as noted above and conclude that the building is substantially complete and ready for beneficial occupancy.

Signature ________________________________              	Date ___________________