## Slide 1: How to Operate your HVAC system
Apartments on Grace and Paul Jennings Hall
Run PowerPoint as a Slideshow to hear audio from certain slides

## Slide 2: Avoid Restriction of Air Flow

## Slide 3: Setting your HVAC Unit Residents can control the temperature of their rooms with their thermostat to an extent; but range is restricted in terms of heating and cooling to avoid humidity issues from developing in rooms.

## Slide 4: Temperature Regulations
Above 60 degrees
Below 60 degrees

## Slide 5: HVAC Operation Tips
Keep WINDOWS CLOSED when cooling
Do not set temperature below 70 degrees when cooling
Do not place furniture or other items on top or within 12 inches of the unit
Report leaks, moisture intrusion and/or signs of microbial growth on our online work order system

## Slide 6: How to report a non-functioning unit…
To fill out a maintenance request to fix the unit visit: http://www.jmu.edu/orl/maintenance/
An air conditioning unit that is not functioning properly is not considered an emergency. It may take 3 to 5 business days for the unit to be serviced.
Only non-functioning heating units are an emergency.

## Slide 7: THANK YOU!
We look forward to seeing you on campus!
GO DUKES!