## Slide 1: How to Operate your HVAC system
Skyline Area
Run PowerPoint as a Slideshow to hear audio from certain slides

## Slide 2: Avoid Restriction of Air Flow
You will have one of the following units in your residence hall.
THIS!
NOT THIS!
THIS!
NOT THIS!
THIS!
NOT THIS!

## Slide 3: Setting your HVAC Unit
68 DEGREES
RANGE
75 DEGREES

## Slide 4: Temperature Regulations
Above 60 degrees
Below 60 degrees

## Slide 5: HVAC Operation Tips
Keep WINDOWS CLOSED when cooling
Do not set temperature below 70 degrees when cooling
Do not place furniture or other items on top or within 12 inches of the unit
Report leaks, moisture intrusion and/or signs of microbial growth on our online work order system

## Slide 6: How to report a non-functioning unit…
To fill out a maintenance request to fix the unit visit: http://www.jmu.edu/orl/maintenance/
An air conditioning unit that is not functioning properly is not considered an emergency. It may take 3 to 5 business days for the unit to be serviced.
Only non-functioning heating units are an emergency.

## Slide 7: THANK YOU!
We look forward to seeing you on campus!
GO DUKES!