Biosafety Level 1

IBC Annual Inspection Checklist

instructions

- Using the checklist below, inspect the lab and note any deficiencies that need to be addressed.

- Sign and date the completed checklist.

General Laboratory Information

| Lab PI/Contact Person: | Inspection Date: | Inspected By (print/sign): |
| --- | --- | --- |
| Lab Location (Bldg/Room #): | Department: |  |
| Inspection Type: Initial Follow up Annual |  |  |
| Biological material(s) manipulated in the laboratory: Recombinant DNA Bacteria Parasite Toxin Virus Prion Fungus Plant Human or primate cells, tissue, blood or body fluids Other potentially infectious materials |  |  |

| * Checking Yes indicates the requirement and is actively being following this in the lab. * Checking No indicates the requirement and is not actively followed in the lab. If No, please comment or explain. * Checking N/A indicates the requirement is not applicable in the lab. If N/A, please comment or explain. |  |  |  |  |
| --- | --- | --- | --- | --- |
| STATEMENT | YES | NO | N/A | Comment/Explanation |
| - Does the entrance have proper signage, including the biohazard symbol, agents used, name and phone of responsible personnel and emergency contact information? |  |  |  |  |
| - Does the laboratory have access control? |  |  |  |  |
| - Do personnel wash hands once work is completed and before leaving the lab? |  |  |  |  |
| - Is eating, drinking, handling contacts, applying cosmetics and storing food for human consumption prohibited? |  |  |  |  |
| - Are mechanical devices used exclusively for pipetting (no mouth pipetting)? |  |  |  |  |
| - Are sharps handled, stored, cleaned up and disposed of appropriately? |  |  |  |  |
| - Are all procedures performed so as to minimize splashes, spills, and aerosols? |  |  |  |  |
| - Are all stocks, cultures, OPIM, and work surfaces decontaminated prior to disposal, at the end of the day, following a spill, or prior to transport for disposal and in accordance with applicable regulations? |  |  |  |  |
| - Can the lab facility and furniture be easily cleaned and decontaminated |  |  |  |  |
| STATEMENT | YES | NO | N/A | Comment/Explanation |
| - Is there a pest management program, does it appear to be effective, and do any operable windows have screens? |  |  |  |  |
| - Do all laboratory personnel receive training regarding their duties, safety policies, precautions and annual updates and additional training when any changes occur? |  |  |  |  |
| - Have all laboratory personnel and particularly women of childbearing age been provided with information regarding immune competence and conditions that may predispose them to infection? |  |  |  |  |
| - If Biosafety Cabinets are used, list the type, certification date, certification due date. |  |  |  |  |
| - Do personnel wear protective laboratory coats, gowns, or uniforms to prevent contamination of personal clothing? |  |  |  |  |
| - Do personnel wear protective eyewear when conducting procedures that have the potential to create splashes of microorganisms or other hazardous materials? |  |  |  |  |
| - Do personnel wear disposable gloves that are not reused, changed when contaminated or compromised, and disposed of with other contaminated lab waste? |  |  |  |  |
| - Is the integrity of the lab, benches, furnishings and equipment sufficient for the intended use? |  |  |  |  |