Biosafety Level 2

IBC Annual Inspection Checklist

instructions

- Using the checklist below, inspect the lab and note any deficiencies that need to be addressed.

General Laboratory Information

| Lab PI/Contact Person: | Inspection Date: | Inspected By (print/sign): |
| --- | --- | --- |
| Lab Location (Bldg/Room #): | Department: |  |
| Inspection Type: Initial Follow up Annual |  |  |
| Biological material(s) manipulated in the laboratory: Recombinant DNA Bacteria Parasite Toxin Virus Prion Fungus Plant Human or primate cells, tissue, blood or body fluids Other potentially infectious materials |  |  |

| * Checking Yes indicates the requirement is actively being followed in the lab. * Checking No indicates the requirement is not actively followed in the lab. If No, please comment or explain. * Checking N/A indicates the requirement is not applicable in the lab. If N/A, please comment or explain. |  |  |  |  |
| --- | --- | --- | --- | --- |
| STATEMENT | YES | NO | N/A | Comment/Explanation |
| - Does the entrance have proper signage, including the biohazard symbol, agents used, name and phone of responsible personnel and emergency contact information? |  |  |  |  |
| - Have all persons entering the lab been advised of the potential hazards and meet specific entry/exit requirements? |  |  |  |  |
| - Does the laboratory have access control? Self-closing doors and locks?* |  |  |  |  |
| - Is there a lab-specific biosafety manual prepared and adopted as policy in the lab and available to all personnel? |  |  |  |  |
| - Do personnel wash hands once work is completed and before leaving the lab? |  |  |  |  |
| - Is eating, drinking, handling contacts, applying cosmetics and storing food for human consumption prohibited? |  |  |  |  |
| - Are mechanical devices used exclusively for pipetting (no mouth pipetting)? |  |  |  |  |
| - Are sharps handled, stored, cleaned up and disposed of appropriately? |  |  |  |  |
| - Are all procedures performed so as to minimize splashes, spills, and aerosols? |  |  |  |  |
| - What is/are the validated methods for decontaminating all wastes? |  |  |  |  |
| STATEMENT | YES | NO | N/A | Comment/Explanation |
| - Are all stocks, cultures, OPIM, and work surfaces decontaminated prior to disposal, at the end of the day, following a spill, or prior to transport for disposal and in accordance with applicable regulations? |  |  |  |  |
| - Is the integrity of the lab, benches, furnishings and equipment sufficient for the intended use? |  |  |  |  |
| - Can the lab facility and furniture be easily cleaned and decontaminated? |  |  |  |  |
| - Is lab equipment routinely decontaminated, as well as, after spills, splashes, other potential contamination, and before repair, maintenance, and removal from the lab? |  |  |  |  |
| - Is there a pest management program, does it appear to be effective, and do any operable windows have screens? |  |  |  |  |
| - Does the lab supervisor ensure that lab personnel demonstrate proficiency in standard and special microbiological practices before working with BSL-2 agents? How? |  |  |  |  |
| - Do all lab personnel receive training regarding their duties, safety policies, precautions and annual updates and additional training when any changes occur? |  |  |  |  |
| - Have all lab personnel and particularly women of childbearing age been provided with information regarding immune competence and conditions that may predispose them to infection? |  |  |  |  |
| - Are lab personnel provided medical surveillance, as appropriate, and offered available immunizations for agents handled or potentially present in the laboratory? |  |  |  |  |
| - Are all incidents that may result in exposure to infectious materials immediately reported to the lab supervisor, treated according to procedures in the biosafety manual and is medical evaluation, surveillance and treatment provided and documented? |  |  |  |  |
| - Are spills contained/cleaned by properly trained and equipped staff? |  |  |  |  |
| - If Biosafety Cabinets are used, list the type, certification date, certification due date. Is the BSC protected from airflow disruptions? |  |  |  |  |
| - Do personnel wear protective lab coats, gowns, or uniforms to prevent contamination of personal clothing? |  |  |  |  |
| - Do personnel wear protective eyewear and face protection when conducting procedures that have the potential to create splashes of microorganisms or other hazardous materials? |  |  |  |  |
| - Do personnel wear disposable gloves that are not reused, changed when contaminated or compromised, and disposed of with other contaminated lab waste? |  |  |  |  |
| - Are vacuum lines protected with disinfectant traps? |  |  |  |  |
| - Is an eyewash readily available? |  |  |  |  |
| - Are any animals or plants in the lab that are not associated with the work being performed? |  |  |  |  |